|  |
| --- |
| Instructions |
| Use this form to test VistA Imaging Clinical TeleReader in a Windows 7 environment. Please complete this form and then email it to the contacts listed below.  **Note:** The last page of this form will need to be completed by the person responsible for the operation of VistA Imaging (as designated in the *Test Agreement for VistA Imaging System* document). |
| This checklist involves testing of the following functionality:   1. Launching TeleReader 2. Display and CPRS launch when locking a study 3. Locking/Unlocking of Studies 4. Unread/Read List 5. Remote Acquisition Sites 6. Thin Client Control |
| If problems are encountered during testing, please report the issue(s) to the SD&E’s Windows 7 client service feedback SharePoint site which is located at the following link: <http://vaww.eie.va.gov/SysDesign/CS/Lists/Build%20Changes/AllItems.aspx>  Also email details of the issues to the individuals below: |
| Contact Information:  SD&E POCs:   * James Babe ([James.Babe@va.gov](mailto:James.Babe@va.gov)) * Yoojin Lee ([Yoojin.lee@va.gov](mailto:Yoojin.lee@va.gov))   VistA Imaging POCs:   * Jon-Paul Lerro ([jonpaul.lerro@va.gov](mailto:jonpaul.lerro@va.gov)) * Stuart Frank ([stuart.frank@va.gov](mailto:stuart.frank@va.gov)) * Dan Carozza ([daniel.carozza@va.gov](mailto:daniel.carozza@va.gov)) * Kathy Trombetta ([Kathy.Trombetta@va.gov](mailto:Kathy.Trombetta@va.gov)) |

|  |
| --- |
| —Site Information |
| Test Site Name: |
| Contact Name: |
| Contact Email/Phone: |

|  |
| --- |
| —Test Information |
| Test Start Date: Test End Date: |
| Software Tested **(patch and test version #):** |
| Other test patches present: |
| Account Used**:** 🞎 Live 🞎 Test |
| Required Patches: 🞎 MAG\*3.0\*117 |
| Workstation O/S: 🞎 Windows 7 |
| Workstation Type: 🞎 **Standard (PC)** |
| Monitor Resolution: |

| —Clinical TeleReader Testing- Launching TeleReader | Pass?  (circle one) |
| --- | --- |
| **Launching Clinical TeleReader from start menu** | *--* |
| Clinical TeleReader can be launched from Start menu. | Y N n/a |
| **Please note any problems, concerns or suggestions:** | |

| D — Clinical TeleReader Testing - Display and CPRS Launch When Locking a Study | Pass?  (circle one) |
| --- | --- |
| **On the Options Menu make sure Auto Launch Display\CPRS is checked** | *--* |
| Double clicking a study on the Unread List locks the study and launches Display and CPRS. | Y N n/a |
| Selecting a study on the Unread List and clicking the Lock button locks the study and launches Display and CPRS. | Y N n/a |
| Display and CPRS when launched connect to the same database as the TeleReader. | Y N n/a |
| Patient context is maintained in all three applications after launch. | Y N n/a |
| **Please note any problems, concerns or suggestions:** | |

| E - Clinical TeleReader Testing – Locking/Unlocking of Studies | Pass?  (circle one) |
| --- | --- |
| Double clicking a study on the Unread List locks the study. | Y N n/a |
| Selecting a study from the Unread List and clicking the Lock button locks the study. | Y N n/a |
| **Locking a study changes the status and the user name is listed as the Reader.** | Y N n/a |
| **Selecting another study for a different patient (without selecting Lock or View) generates the warning message “This is not the patient in context”.** | Y N n/a |
| **Studies currently locked by one user cannot be locked by another user at different workstation.** | Y N n/a |
| **Items locked will return to a unlock status after the time specified in the TELEREADER ACQUISTION SITE file.** | Y N n/a |
| **Please note any problems, concerns or suggestions:** | |

| F— Clinical TeleReader Testing – Unread/Read List | Pass?  (circle one) |
| --- | --- |
| Resulting a consult moves it from the Unread list to the Read list. | Y N n/a |
| Exams listed on the Read list cannot be locked. | Y N n/a |
| **Patient context is maintained as different studies in the Unread studies are selected using the View button.** | Y N n/a |
| **Read list will show only Studies that following the setting “Read List Days” under the options menu.** | Y N n/a |
| **Please note any problems, concerns or suggestions:** | |

| G — Clinical TeleReader Testing – Remote Acquistion Sites | Pass?  (circle one) |
| --- | --- |
| **All Acquisition sites that are configured show in the “Specialties” dialog.** | Y N n/a |
| **TeleReader will connect to the selected remote site and consults from that site are displayable.** | Y N n/a |
| **Locking a study from a remote site changes the status and the user name is listed as the Reader.** | Y N n/a |
| **Resulting the inter-facility consult will move it from t he Unread list to the Read list.** | Y N n/a |
| **Please note any problems, concerns or suggestions:** | |

| H — Clinical TeleReader Testing - Thin Client Control | Pass?  (circle one) |
| --- | --- |
| **Configuring the MAG TR ALLOW THIN CLIENT** allow users to run TeleReader in a Thin Client configuration. | Y N n/a |
| **Please note any problems, concerns or suggestions:** | |

|  |
| --- |
| Results |
| Site name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_  Date testing was conducted: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_  **🞎 YES 🞎 NO** Are there any problems operating Telereader within the Windows 7 Environment? If **yes**, explain why:  **🞎 YES 🞎 NO** Does operating Telereader in a Windows 7 environment maintain the functionality   that is defined in the user’s manual? If **no**, explain why:  **🞎 YES 🞎 NO** Telereader installed on a Windows 7 environment meets the needs of our site?  If **no**, explain why:    **Please sign below**    *(Signature—Tester)*  *(Signature—Test Site Representative)*    *(Print Name—Tester) (Print Name—Test Site Representative)*    *(Title) (Title)*      *(Date) (Date)* |